## Coal Shortage Report
(A). Generation Loss due to Coal Shortage for Previous Day
Updated | 2019-11-12 |  | Date of Reporting: |  |  | 2019-11-13
Station | Location | Agency | Total Capacity | Previous Day Average MW | Loss of Generation (in MW) | Remarks
NORTHERN REGION
TOTAL
WESTERN REGION
JPL stage-1 (4 X 250 MW) | Tamnar | JPL | 1000 | 214 | 786 | Loss due to coal shortage & coal availability depends upon the auction by Coal India Ltd .
JPL stage-2 (4 X 600 MW) | Tamnar | JPL | 2400 | 541 | 1859 | Loss due to coal shortage
CHANDRAPUR(2*210+4*500) | MAH | MAH | 2420 | 1729.4167 | 0 | COAL SHORTAGE
2x300MW GMR WARORA ENERGY LTD,WARORA | MAH | GMR WARORA ENERGY LTD | 600 | 478 | 122 | COAL SHORTAGE
R.K.M. Powergen | Chhattisgarh | R.K.M. Powergen | 1440 | 225 | 125 | No schedule for U#1,U#3,U#4 (No PPA)
KSK | Chhattisgarh | KMPCL | 1800 | 1120 | 680 | Coal consumption is based on GCV considering two Units are running.
BARADARHA TPS (DB POWER) | DB Power Limited | DB Power Limited | 1200 | 740 | 460 | Coal shortage
TRNEPL, RAIGARH (Unit-1) | Raigarh | IPP/TRNEPL | 300 | 0 | 300 | - Unit-1 taken under shutdown at 01:50 hrs on 10/07/19 due to low schedule by UPPCL and w.e.f 00:00 hrs of dt.01/10/19, unit is under forced outage due to Coal shortage and poor coal quality due to force majeure.
TRNEPL, RAIGARH (Unit-2) | Raigarh | IPP/TRNEPL | 300 | 0 | 300 | Unit-2 taken under forced shutdown at 11:16 Hrs. on 01/10/19 due to Coal shortage & poor coal quality due to force majeure.
TOTAL | 310.2 |  |  |  | 4632
GRAND TOTAL | 317.22
(B). Generation Loss due to Other Reasons
Station | Location | Agency | Total Capacity | Average MW | Loss of Generation (in MW) | Remarks
WESTERN REGION
CGPL/UMPP(5*800MW) | Mundra | Tata Power | 4000 | 3104 | 896 | Power surrendered by procurers and unit 20 outage
BHUSWAL(210*1+500*2) | MAH | MAH | 1210 | 856.4583 | 420 | U- 2 & 3 ARE ZERO SCHEDULE ,PCQ ,LD INST , WET COAL,
CHANDRAPUR(2*210+4*500) | MAH | MAH | 2420 | 1856.75 | 1130 | U-7 TRIP ON ANNUAL OH ,DUCK PROB.,WET COAL ,,DUCK LEAKAGE , BOTTOM AS PROB ,LD INST. , NO ID MARGIN , COAL MILL,U - 4 TRIP ONEXESSIVE CONSUMPTION OF HYDROZEN,GOVERNING PROB
KHAPARKHEDA(210*4+500) | MAH | MAH | 1340 | 437.375 | 840 | U -1 & 2 ZERO SCHEDULE ,U-3 & 4 TRIP ON ZERO SCHEDULE,PCQ,LD INST,EXTREEM PCQ
KORADI(210*2+660*3) | MAH | MAH | 2400 | 933.5417 | 620 | U - 6 ZERO SCHEDULE ,U- 7 TRIP ON WET COAL ,,OTHER PORATIONAL LOSS,CHP ,,
PARLI(210*2+3*250) | MAH | MAH | 1170 | 214.875 | 630 | ,U-4 & 5 TRIP ON WATER SHORTAGE,,PCQ , LD INST. , COAL MILL , COAL FEEDER,STSRT UP W/DN , STSBILIZATION,TRIPPING
PARAS(2*250) | MAH | MAH | 500 | 0 | 500 | U - 4 TRIP ON AOH ,,U - 3 TRIP ON ZERO SCHEDULE
Mouda unit 1 and 3 | MAH | NTPC | 1160 | 0 | 1160 | No schedule for unit-1 and 3
R.K.M. Powergen | Chhattisgarh | R.K.M. Powergen | 1440 | 225 | 1089 | No schedule for U#1,U#3,U#4 (No PPA)
Gadarwara | MP | NTPC | 800 | 0 | 800 | No schedule for U # 1.
Solapur | Solapur | NTPC | 1320 | 0 | 1320 | No schedule for U # 1,U # 2
TROMBAY | MAH | Tata Power | 875 | 811 | 64 | ID Fan suction pressure low & wet coal and Less Requisition
NSPCL, BHILAI (2x250) | Chhattisgarh | NSPCL | 500 | 292.08 | 207.92 | HIGH COST GEN.
SUGEN(3*383) | GUJ | TPL | 1149 | 759.4167 | 389.5833 | HIGH COST GEN.
GPEC | GUJ | GUVNL | 655 | 0 | 655 | HIGH COST GEN.
UGPP-2 | GUJ | GUVNL | 375 | 262.625 | 112.375 | HIGH COST GEN.
DGBPS-1 | GUJ | GUVNL | 107 | 45.0417 | 61.9583 | HIGH COST GEN.
DGBPS-2 | GUJ | GUVNL | 112 | 0 | 112 | HIGH COST GEN.
DGBPS-3 | GUJ | GUVNL | 375 | 135.2896 | 239.7104 | HIGH COST GEN.
GSEG-2 | GUJ | GUVNL | 351 | 70.4792 | 280.5208 | HIGH COST GEN.
GSEG-1 | GUJ | GUVNL | 156.1 | 37.6667 | 118.4333 | HIGH COST GEN.
ACBIL, Kasipali (2*135) | Kasaipali | IPP/ACBIL | 270 | 135.12 | 134.88 | Unit# 2 under shutdown
SCPL, Ratija (2*50) | Ratija | IPP/SCPL | 100 | 97.71 | 2.29 | Unit# 1 high bed pressure
ACBIL, Chakabura (2*30) | Chakabura | IPP/ACBIL | 60 | 58.41 | 1.59 | Unit# 1 PA line choking, Unit# 2 Furnace draft positive
MCCPL, Bandakhar (1*300) | Bandakhar | IPP/MCCPL | 300 | 207.91 | 92.09 | RVVNL curtailment
TOTAL |  |  | 23145.1 | 10041.5987 | 11646.5013
EASTERN REGION
TOTAL
GRAND TOTAL
Note:- In respect of loss of generation-
1. Units with capacity 200 MW and above has been taken.
2. Generating stations (stages) with total capacity of 500 MW & above where loss of generation is 200 MW and above has been
taken.
3. Stations where unit is ready but out due to problems as transmissinon constraints, cooling water issues, statutory clearance etc.
has been taken.

## Critical Coal Stock Report
List of Generating Stations where coal stock is critical
|  |  | Date of Reporting: |  |  |  | 2019-11-13
S. No. | Name of the Station | Owner | Total Capacity (MW) | Present GENERATION (MW) | Loss of Generation due to Coal Shortage (in MW) | Present coal stock (in no. of days)
1 | BARADARHA TPS (DB POWER) | DB Power Limited | 1200 (2X600) | 740 | 460 | 1 | Super critical
2 | JPL stage-1 (4 X 250 MW) | JPL | 1000 | 214 | 786 | 1 | Loss due to coal shortage & coal availability depends upon the auction by Coal India Ltd .
3 | JPL stage-2 (4 X 600 MW) | JPL | 2400 | 541 | 1859 | 1 | Loss due to coal shortage
4 | KSK Mahanadi Power Company Limited | KSK Energy Ventures | 1800 | 875 | 925 | 1.9 | Coal consumption is based on GCV considering three Units are running.
5 | 2x300MW GMR WARORA ENERGY LTD,WARORA | GMR WARORA ENERGY LTD | 600 | 478 | 122 | 0.613 | COAL SHORTAGE
6 | R.K.M. Powergen, Uchpinda, P.O. Dhurkot, Distt. Janjgir Champa ( CG) | R.K.M. Powergen | 1440 | 225 | 125 | 2 | No schedule for U#1,U#2,U#4 (No PPA)
7 | Koradi-7 &9 | MSPGCL | 870 | 0 | 870 | 7 | Coal Shortage
8 | Bhusawal-3 | MSPGCL | 210 | 0 | 210 | 3 | Coal Shortage
9 | Parli-8 | MSPGCL | 250 | 0 | 250 | 13 | Coal Shortage
10 | Khaparkheda-1 ,2 &3 | MSPGCL | 630 | 0 | 630 | 9.01 | Coal Shortage
11 | Chandrapur-3,4,6 | MSPGCL | 920 | 0 | 920 | 5.43 | Coal Shortage
12 | Satpura unit-running- nil | MPPGCL | 0 | 0 | 0 | 21 DAYS | coal stock
13 | Sanjay Gandhi units 5 | MPPGCL | 500 | 498 | 0 | 12 DAYS | LESS coal stock
14 | Singaji TPS-unit #1-running | MPPGCL | 600 | 570 | 28 | 34 DAYS | coal stock
15 | ATPS-Chachai | MPPGCL | 210 | 210 | 0 | 10 DAYS | LESS coal stock
16 | 1x300 MW MCCPL TPP Bandhakhar KORBA (C.G.) | MCCPL | 300 | 220 | 0 | 2
17 | Ukai TPs | GSECL | 1110 MW | 707 | -- | 10 | GT-3,5 under RSD
18 | Gandhinagar TPS | GSECL | 630 MW | 0 | -- | 27 | GT-3,4,5 Under RSD
19 | Wanakbori TPS | GSECL | 1470 MW | 166 | -- | 16 | GT 1,2,3,4,6,7 RSD
20 | Sikka TPS( Imported coal Based) | GSECL | 500 MW | 439 | -- | 15 | GT-4 under RSD
21 | 2x300MW GMR WARORA ENERGY LTD,WARORA | GMR | 600 | 448 | 92 | 1.36 | -
Total WR |  |  | 11430 | 4351 | 6725
1 | Krishanapatnam | APGENCO | 1600 | 421 | 379 | 1 | --
2 | VTPS | APGENCO | 1760 | 1036 | 514 | 1.5 | --
3 | NTPL | NTPL | 1000 | 275 | 225 | 7 | --
4 | Simhadri | NTPC | 2000 | 1061 | 939 | 3 | --
5 | Mettur TPS | TANGEDCO | 1440 | 499 | 521 | 4 | --
6 | NCTPS | TANGEDCO | 1830 | 496 | 314 | 2 | --
7 | Tuticorn | TANGEDCO | 1050 | 478 | 152 | 5 | --
Total SR |  |  | 10680 | 4266 | 3044 |  | --
Total All India |  |  | #REF! | #REF! | #REF! |  | --
Note on B18: CR 01:

## User Data Entry Page
Date Input | Input by user
Generation loss due to coal shortage
Station | Location | Agency | Total Capacity | Previous Day Average MW | Loss of Generation (in MW) | Remarks
Populated From DB as per admin config |  |  |  | Input by user
Generation loss due to other reasons
Station | Location | Agency | Total Capacity | Previous Day Average MW | Loss of Generation (in MW) | Remarks
Populated From DB as per admin config |  |  |  | Input by user
Critical Coal Stock Report
Name of the Station | Owner | Total Capacity (MW) | Present GENERATION (MW) | Loss of Generation due to Coal Shortage (in MW) | Present coal stock (in no. of days) | Remarks
Populated From DB as per admin config |  |  | Input by user
Notes
Above forms take data for a user selected date

## Form Responses Table
For Gen Loss due to Coal Shortage Report
Date | Station | Location | Agency | Total Capacity | Previous Day Average MW | Loss of Generation (in MW) | Remarks
Generation loss due to other reasons
Date | Station | Location | Agency | Total Capacity | Previous Day Average MW | Loss of Generation (in MW) | Remarks
Critical Coal Stock Report
Date | Name of the Station | Owner | Total Capacity (MW) | Present GENERATION (MW) | Loss of Generation due to Coal Shortage (in MW) | Present coal stock (in no. of days) | Remarks
Notes
Date Station Name to be unique in all tables

## Admin Data Edit Page
Date Input | Input by user
Generation loss due to coal shortage
Station | Location | Agency | Total Capacity | Previous Day Average MW | Loss of Generation (in MW) | Remarks
All fields to be modifiable by admin
Generation loss due to other reasons
Station | Location | Agency | Total Capacity | Previous Day Average MW | Loss of Generation (in MW) | Remarks
All fields to be modifiable by admin
Critical Coal Stock Report
Name of the Station | Owner | Total Capacity (MW) | Present GENERATION (MW) | Loss of Generation due to Coal Shortage (in MW) | Present coal stock (in no. of days)
All fields to be modifiable by admin
Notes
Above forms take data for a user selected date

## Users Config
Username | password | phone | email
Notes
Use ASP.NET Core Identity

## Generators Config
For Gen Loss due to Coal Shortage Report
Start Date | End Date | Station | Location | Agency | Total Capacity | User
For Gen loss due to other reasons
Start Date | End Date | Station | Location | Agency | Total Capacity | User
For Critical Coal Stock Report
Start Date | End Date | Name of the Station | Owner | Total Capacity (MW) | User
Notes
In config screen, we can show stale records in different color. Stale Record means End Date < Today
Constraint 1 - Start Date <= End Date
Constraint 2 - Start Date, End Date, Station to be unique
Constraint 3 - User should not be null and foreign key type to be 'restrict'
Constraint 4 - All fields to be non null